| Title: | Topology Aware FeedForward Bottleneck Networks for Grid-Tied PV Inverter Impedance Modeling |  |  |
| --- | --- | --- | --- |
| Author(s) Name: | Jabala Nur Fahima, Md. Rifat Hazari, Shameem Ahmad, Chowdhury Akram Hossain, and Mohammad Abdul Mannan |  |  |
| Contact Email(s): | rifat@aiub.edu |  |  |
| Published Conference Name: | ICBIR2026 |  |  |
| Type of Publication: | International Conference |  |  |
| Volume: |  | Issue |  |
| Publisher: | IEEE |  |  |
| Publication Date: | May 2026 |  |  |
| ISSN: |  |  |  |
| DOI: |  |  |  |
| URL: |  |  |  |
| Other Related Info.: |  |  |  |

| Abstract: |  |
| --- | --- |
| Penetration of grid-tied photovoltaic (PV) system has been increasing significantly. Impedance models of grid-connected three-phase PV inverters are essential for impedance-based stability analysis, controller design, and operation in power-electronics-dominated grids. Recently, data-driven techniques, particularly neural networks, have attracted considerable attention because of their ability to represent complex nonlinear behaviors in power electronic systems. Neural network-based impedance models necessitate meticulous architecture selection to achieve a compromise between generalization and model integrity. This study proposes four feed-forward networks for modeling the impedance of a voltage source converter (VSC) inverter. The networks are categorized as Wide-Shallow, Deep-Narrow, Uniform, and Bottleneck. The impedance model is obtained with time-domain simulation data from a two-level VSC inverter under diverse operating conditions, while the frequency-domain impedance response is developed through supervised regression. When compared to other types of systems, the bottleneck architecture is more predictive and takes into account a less number of characteristics. The dataset contains 21,680 samples used for both training and validation. Among the evaluated architectures, the Bottleneck network demonstrates superior performance, achieving a mean squared error of 3.81 X 10-9 with fewer parameters than the alternatives. The results indicate that topology-aware architectural design can significantly enhance prediction accuracy while improving parameter efficiency, supporting more scalable impedance modeling for grid-connected PV inverters. |  |