| Title: | Primary frequency control of large-scale PV-connected multimachine power system using battery energy storage system |  |  |
| --- | --- | --- | --- |
| Author(s) Name: | S. M. Imrat Rahman, Md. Rifat Hazari, Sumaiya Umme Hani, Bishwajit Banik Pathik, MohammadAbdul Mannan, Asif Mahfuz, Mohammad Khurshed Alam, Md. Kamrul Hassan |  |  |
| Contact Email(s): | Khurshed709@aiub.edu |  |  |
| Published Journal Name: | International Journal of Power Electronics and Drive Systems (IJPEDS) |  |  |
| Type of Publication: | Journal |  |  |
| Volume: | Vol. 12, No. 3, | Issue |  |
| Publisher: | This is an open access article under the CC BY-SA license. |  |  |
| Publication Date: | Sep, 2021 |  |  |
| ISSN: | ISSN: 2088-8694, |  |  |
| DOI: | DOI: 10.11591/ijpeds.v12.i3.pp1862-1871 |  |  |
| URL: | https://www.researchgate.net/publication/354802495_Primary_frequency_control_of_large-scale_PV-connected_multi- machine_power_system_using_battery_energy_storage_system |  |  |
| Other Related Info.: | pp. 1862~1871 |  |  |

| Abstract: |  |
| --- | --- |
| Large-scale grid-tied photovoltaic (PV) station are increasing rapidly.However, this large penetration of PV system creates frequency fluctuationin the grid due to the intermittency of solar irradiance. Therefore, in thispaper, a robust droop control mechanism of the battery energy storage system (BESS) is developed in order to damp the frequency fluctuation of the multi-machine grid system due to variable active power injected from the PV panel. The proposed droop control strategy incorporates frequency error signal and dead-band for effective minimization of frequency fluctuation.The BESS system is used to consume/inject an effective amount of active power based upon the frequency oscillation of the grid system. The simulation analysis is carried out using PSCAD/EMTDC software to prove the effectiveness of the proposed droop control-based BESS system. The simulation result implies that the proposed scheme can efficiently curtail the frequency oscillation. |  |