| Title: | Development and Performance Analysis of Darrieus and Savonius Turbines Using QBlade |  |  |
| --- | --- | --- | --- |
| Author(s) Name: | Arnendu Roy Apu, Gour Chand Mazumder, Dhiman Dey, Md. Ashiquzzaman, Bishwajit Banik Pathik, Himangshu Ranjan Ghosh |  |  |
| Contact Email(s): | dr.mazumder@aiub.edu |  |  |
| Published Conference Name: | 2025 4th International Conference on Robotics, Electrical and Signal Processing Techniques (ICREST) |  |  |
| Type of Publication: | Conference |  |  |
| Volume: | 48 | Issue | 1 |
| Publisher: | IEEE |  |  |
| Publication Date: | Mar. 14, 2025 |  |  |
| ISSN: | 979-8-3315-3095-2 |  |  |
| DOI: | https://doi.org/10.1109/ICREST63960.2025.10914393 |  |  |
| URL: | https://ieeexplore.ieee.org/document/10914393 |  |  |
| Other Related Info.: | 1-12 January 2025 |  |  |

| Abstract: |  |
| --- | --- |
| In this research a vertical-axis wind turbine (VAWT-Darrieus type) is designed and optimized using QBlade software based on three design parameters. Three types of airfoils have been chosen to find out the suitable design to make three-bladed Darrieus type VAWT. A Savonius type VAWT was developed practically to characterize the developed generator coupling arrangement. This Darrieus type was simulated and optimized using Qblade. A practical test was done to compare the electrical and mechanical power, thrust of both turbines using a wind tunnel. After simulation, it was found that the Darrieus type VAWT with 1 meter height, 0.75-meter radius and 0.075-meter chord length with 75o circular angle made by “DU 06-W-200” airfoil has better coefficient of performance. On the other hand, the Savonius type VAWT having 0.37 meter and a radius of 0.11 meter showed 0.0006 Watt electrical power and 5.8844 Watt mechanical power at 4 m/s. Savonius type wind turbine with 0.37 meter height and 0.11 meter radius is applicable for low speed whereas larger 1 meter Darrieus type could be the proper choice. |  |