| Title: | Hybrid Power System Frequency Control including Wind Farm using Battery Storage System |  |  |
| --- | --- | --- | --- |
| Author(s) Name: | Anannya Mondol, Md. Rifat Hazari, Mohammad Abdul Mannan, Junji Tamura |  |  |
| Contact Email(s): | rifat@aiub.edu |  |  |
| Published Journal Name: | AIUB Journal of Science and Engineering (AJSE) |  |  |
| Type of Publication: | Journal |  |  |
| Volume: | 19 | Issue | 1 |
| Publisher: | American International University-Bangladesh (AIUB) |  |  |
| Publication Date: | April 29, 2020 |  |  |
| ISSN: | 1608 – 3679 |  |  |
| DOI: | https://doi.org/10.53799/ajse.v19i1.56 |  |  |
| URL: | https://ajse.aiub.edu/index.php/ajse/article/view/56 |  |  |
| Other Related Info.: | Pages 41-46 |  |  |

| Abstract: |  |
| --- | --- |
| Fixed speed wind turbine-squirrel cage induction generator (FSWT-SCIG) based wind farm (WF) is increasing significantly. However, FSWT-SCIG have no frequency control capability, which creates a significant problem on power system steady-state stability. This paper represents a new operational strategy to control frequency of the entire power system including large-scale FSWT-SCIG based WF by using battery storage system (BSS). The proposed cascaded control of BSS is designed to provide effective amount of real power during steady-state period to damp frequency fluctuations. To evaluate the validity of the proposed system, simulation studies are executed on a reformed IEEE nine-bus power system with three synchronous generators (SGs) and SCIG-based WF along with BSS. The simulation results indicate that the proposed system can be an effective solution to reduce frequency fluctuations of the hybrid power system during steady-state condition. |  |